## 04.03.25 1mM FeDFOB & 0.5-1.5 F
| 1mM DFOB-Fe complex [0.5mM] | 0.5:1.5 Fe-Ferrozine complex [0.25 mM]
| 2025-04-03 12:20 | 2025-04-03 12:21 | Stookey, L.L., 1970. Ferrozine---a new spectrophotometric reagent for iron. Analytical chemistry, 42(7), pp.779-781.
Wavelength (nm) | Absorbance | Absorbance | Molar absorptivity = | 27900 | at 562nm
700 | 0.002521 | 0.054724
699 | 0.001991 | 0.054918 | Concentration (C) = Absorbance (A) / (Extinction Coefficient (ε) x Path Length (L)); where the path length is usually 1cm, so the simplified formula becomes C = A / ε.
698 | 0.003346 | 0.058494
697 | 0.003527 | 0.059766 | The extinction coefficient value of 2460 M⁻¹ cm⁻¹ is specifically for the DFOB complex at a wavelength of 425 nanometers
696 | 0.001425 | 0.057823 | Molar absorptivity = | 2460
695 | 0.002187 | 0.062214 | [5 empty] | 0.0005 |  | DFOB-Fe
694 | 0.002208 | 0.064752 | Beer-Lambert Law: | ε = A / (c * l) |  | Fe2+-Ferrozine complex = | 0.25 mM | 0.00025 | M | A (425) = | 1.3641
693 | 0.002212 | 0.065366 |  |  |  | DFOB-Fe complex = | 0.5 mM | 0.0005 | M | A (562) = | 0.13429
692 | 0.003149 | 0.067832 | [5 empty] | 0.001
691 | 0.003631 | 0.071443 | ε (DFOB 425nm) | 2728.2 | M⁻¹ cm⁻¹
690 | 0.002668 | 0.073516 | ε (DFOB 562nm) | 268.572 | M⁻¹ cm⁻¹
689 | 0.00408 | 0.076647 | [7 empty] | Fe2+-Ferrozine
688 | 0.002414 | 0.078428 | ε (Ferrozine 425nm) | 3753.764 | M⁻¹ cm⁻¹ |  |  |  |  | A (425) = | 0.93844
687 | 0.003061 | 0.082076 | ε (Ferrozine 562nm) | 10176.536 | M⁻¹ cm⁻¹ |  |  |  |  | A (562) = | 2.5441
686 | 0.003694 | 0.084954
685 | 0.004204 | 0.087869
684 | 0.003421 | 0.090655 | A(425) = Ɛ (DFOB-Fe) (425) * C1 * L1 + Ɛ (Ferrozine-Fe) (425) * C2 * L2
683 | 0.003772 | 0.094199 | A(562) = Ɛ (DFOB-Fe) (562) * C1 * L1 + Ɛ (Ferrozine-Fe) (562) * C2 * L2
682 | 0.003936 | 0.098166
681 | 0.003767 | 0.1018
680 | 0.004054 | 0.10623
679 | 0.005171 | 0.1106
678 | 0.004681 | 0.11366
677 | 0.004397 | 0.11914
676 | 0.00546 | 0.12466
675 | 0.005044 | 0.12877
674 | 0.005053 | 0.1346
673 | 0.005183 | 0.13872
672 | 0.004576 | 0.14369
671 | 0.005169 | 0.14948
670 | 0.004295 | 0.15498
669 | 0.00446 | 0.16102
668 | 0.004361 | 0.16814
667 | 0.004508 | 0.17468
666 | 0.005637 | 0.18345
665 | 0.005279 | 0.18912
664 | 0.003784 | 0.19711
663 | 0.004412 | 0.20615
662 | 0.005438 | 0.21458
661 | 0.004504 | 0.22388
660 | 0.004919 | 0.23252
659 | 0.005487 | 0.24206
658 | 0.005921 | 0.25397
657 | 0.005879 | 0.26334
656 | 0.006134 | 0.27513
655 | 0.00556 | 0.28644
654 | 0.007872 | 0.29949
653 | 0.006923 | 0.3112
652 | 0.006602 | 0.32547
651 | 0.00672 | 0.33753
650 | 0.007944 | 0.35166
649 | 0.007671 | 0.36366
648 | 0.008515 | 0.37872
647 | 0.008314 | 0.39646
646 | 0.008688 | 0.41291
645 | 0.009061 | 0.42892
644 | 0.009034 | 0.44819
643 | 0.010419 | 0.46595
642 | 0.009347 | 0.48275
641 | 0.00941 | 0.5051
640 | 0.008595 | 0.52151
639 | 0.010947 | 0.54164
638 | 0.011008 | 0.56437
637 | 0.011678 | 0.58663
636 | 0.012199 | 0.61008
635 | 0.012195 | 0.63459
634 | 0.012059 | 0.6583
633 | 0.011809 | 0.68311
632 | 0.011907 | 0.70947
631 | 0.012872 | 0.73821
630 | 0.01331 | 0.76725
629 | 0.014394 | 0.79372
628 | 0.016261 | 0.82906
627 | 0.015844 | 0.85861
626 | 0.015172 | 0.88643
625 | 0.01685 | 0.92105
624 | 0.016221 | 0.96465
623 | 0.017947 | 0.99398
622 | 0.019038 | 1.0387
621 | 0.018855 | 1.0656
620 | 0.019501 | 1.1082
619 | 0.019521 | 1.1494
618 | 0.019355 | 1.1916
617 | 0.021926 | 1.2361
616 | 0.0217 | 1.2821
615 | 0.022871 | 1.3229
614 | 0.023565 | 1.3681
613 | 0.024832 | 1.418
612 | 0.025016 | 1.4636
611 | 0.026184 | 1.5233
610 | 0.02665 | 1.5816
609 | 0.027625 | 1.6392
608 | 0.02868 | 1.6717
607 | 0.029295 | 1.7346
606 | 0.030931 | 1.781
605 | 0.031317 | 1.8342
604 | 0.032661 | 1.8895
603 | 0.0332 | 1.9479
602 | 0.035489 | 2.0111
601 | 0.036334 | 1.9591
600 | 0.037308 | 2.0226
599 | 0.038458 | 2.0658
598 | 0.040597 | 2.1686
597 | 0.04188 | 2.2019
596 | 0.042732 | 2.2351
595 | 0.04419 | 2.2204
594 | 0.045751 | 2.2858
593 | 0.047496 | 2.2274
592 | 0.048777 | 2.3974
591 | 0.050481 | 2.2481
590 | 0.052277 | 2.2675
589 | 0.054376 | 2.2876
588 | 0.055916 | 2.3814
587 | 0.057736 | 2.3288
586 | 0.060217 | 2.2786
585 | 0.061099 | 2.3385
584 | 0.063393 | 2.4461
583 | 0.065419 | 2.3895
582 | 0.067868 | 2.3616
581 | 0.07 | 2.4168
580 | 0.072649 | 2.3335
579 | 0.074839 | 2.367
578 | 0.077016 | 2.3586
577 | 0.079572 | 2.3152
576 | 0.083116 | 2.4043
575 | 0.086205 | 2.2886
574 | 0.089869 | 2.3536
573 | 0.092442 | 2.3146
572 | 0.094983 | 2.2949
571 | 0.097492 | 2.4497
570 | 0.10205 | 2.5192
569 | 0.10655 | 2.3938
568 | 0.1087 | 2.3489
567 | 0.11282 | 2.2642
566 | 0.11645 | 2.3314
565 | 0.12051 | 2.4046
564 | 0.12499 | 2.2825
563 | 0.12912 | 2.3492
562 | 0.13429 | 2.5441
561 | 0.13709 | 2.3904
560 | 0.14264 | 2.3022
559 | 0.14721 | 2.3544
558 | 0.1519 | 2.4028
557 | 0.15829 | 2.2906
556 | 0.16141 | 2.3334
555 | 0.1671 | 2.3416
554 | 0.17315 | 2.4004
553 | 0.17927 | 2.3618
552 | 0.1846 | 2.3317
551 | 0.19029 | 2.4312
550 | 0.19642 | 2.4004
549 | 0.20325 | 2.3894
548 | 0.20901 | 2.3358
547 | 0.21576 | 2.3046
546 | 0.22294 | 2.3768
545 | 0.22962 | 2.301
544 | 0.2371 | 2.327
543 | 0.24269 | 2.344
542 | 0.25224 | 2.3311
541 | 0.25943 | 2.3176
540 | 0.26677 | 2.3859
539 | 0.27519 | 2.3826
538 | 0.28313 | 2.3198
537 | 0.29127 | 2.397
536 | 0.30065 | 2.3701
535 | 0.30995 | 2.2844
534 | 0.319 | 2.3878
533 | 0.32754 | 2.3769
532 | 0.33736 | 2.3842
531 | 0.34801 | 2.3463
530 | 0.35834 | 2.3478
529 | 0.36781 | 2.3458
528 | 0.37701 | 2.363
527 | 0.38877 | 2.3148
526 | 0.39793 | 2.3829
525 | 0.40982 | 2.3437
524 | 0.42205 | 2.3734
523 | 0.43235 | 2.3271
522 | 0.44338 | 2.3543
521 | 0.45597 | 2.2879
520 | 0.46724 | 2.3112
519 | 0.47972 | 2.2822
518 | 0.49201 | 2.2977
517 | 0.50341 | 2.2876
516 | 0.51648 | 2.3209
515 | 0.52761 | 2.4155
514 | 0.54134 | 2.2833
513 | 0.55614 | 2.2844
512 | 0.56627 | 2.246
511 | 0.5811 | 2.2627
510 | 0.59629 | 2.3099
509 | 0.608 | 2.2283
508 | 0.62168 | 2.2997
507 | 0.63667 | 2.2045
506 | 0.65053 | 2.2871
505 | 0.66478 | 2.1701
504 | 0.67788 | 2.2657
503 | 0.69037 | 2.1901
502 | 0.7082 | 2.1737
501 | 0.72017 | 2.1754
500 | 0.73502 | 2.1775
499 | 0.74823 | 2.1299
498 | 0.76207 | 2.1254
497 | 0.77782 | 2.1327
496 | 0.79277 | 2.0853
495 | 0.806 | 2.0631
494 | 0.81892 | 2.0706
493 | 0.83685 | 2.0252
492 | 0.84834 | 2.0343
491 | 0.86253 | 2.0135
490 | 0.87723 | 1.9976
489 | 0.89133 | 1.9868
488 | 0.9055 | 1.9718
487 | 0.92031 | 1.9463
486 | 0.93346 | 1.9279
485 | 0.94865 | 1.9113
484 | 0.96311 | 1.9039
483 | 0.97423 | 1.8875
482 | 0.98971 | 1.8667
481 | 1.0029 | 1.8553
480 | 1.0155 | 1.8519
479 | 1.0304 | 1.8241
478 | 1.0427 | 1.8017
477 | 1.0543 | 1.7878
476 | 1.0673 | 1.7645
475 | 1.0807 | 1.7731
474 | 1.0928 | 1.7376
473 | 1.1043 | 1.7275
472 | 1.1136 | 1.7194
471 | 1.1302 | 1.6945
470 | 1.1375 | 1.6999
469 | 1.1462 | 1.6724
468 | 1.1593 | 1.6656
467 | 1.1734 | 1.6461
466 | 1.1816 | 1.6282
465 | 1.1893 | 1.6123
464 | 1.1979 | 1.612
463 | 1.2075 | 1.5956
462 | 1.2202 | 1.5747
461 | 1.2275 | 1.5618
460 | 1.2353 | 1.5483
459 | 1.2422 | 1.5371
458 | 1.2517 | 1.5228
457 | 1.2593 | 1.5131
456 | 1.2659 | 1.4978
455 | 1.2743 | 1.4781
454 | 1.2807 | 1.4658
453 | 1.2861 | 1.4503
452 | 1.2929 | 1.4337
451 | 1.2977 | 1.4197
450 | 1.3088 | 1.4018
449 | 1.3111 | 1.3844
448 | 1.3197 | 1.3722
447 | 1.3183 | 1.3562
446 | 1.3278 | 1.3398
445 | 1.3261 | 1.3214
444 | 1.3329 | 1.3037
443 | 1.3409 | 1.2857
442 | 1.34 | 1.2716
441 | 1.3442 | 1.2484
440 | 1.3476 | 1.2319
439 | 1.3487 | 1.2117
438 | 1.3545 | 1.1944
437 | 1.3546 | 1.1772
436 | 1.3585 | 1.1571
435 | 1.3576 | 1.142
434 | 1.3617 | 1.1177
433 | 1.3664 | 1.0984
432 | 1.3636 | 1.0794
431 | 1.3669 | 1.0595
430 | 1.3677 | 1.0378
429 | 1.3674 | 1.0209
428 | 1.3703 | 1.0007
427 | 1.37 | 0.98008
426 | 1.3632 | 0.96117
425 | 1.3641 | 0.93844
424 | 1.3643 | 0.9194
423 | 1.3609 | 0.9001
422 | 1.3612 | 0.87699
421 | 1.3636 | 0.85769
420 | 1.359 | 0.83871
419 | 1.3603 | 0.8163
418 | 1.3576 | 0.79741
417 | 1.3565 | 0.77533
416 | 1.3498 | 0.75507
415 | 1.3518 | 0.73667
414 | 1.3553 | 0.71769
413 | 1.3399 | 0.69752
412 | 1.3489 | 0.67943
411 | 1.3385 | 0.66055
410 | 1.3393 | 0.64087
409 | 1.3318 | 0.62497
408 | 1.3251 | 0.60764
407 | 1.3287 | 0.58988
406 | 1.3251 | 0.57588
405 | 1.3155 | 0.55898
404 | 1.3088 | 0.54408
403 | 1.3078 | 0.53144
402 | 1.3 | 0.51667
401 | 1.2953 | 0.5048
400 | 1.2919 | 0.49236
399 | 1.2847 | 0.48017
398 | 1.2756 | 0.47013
397 | 1.2651 | 0.46091
396 | 1.2602 | 0.45196
395 | 1.2567 | 0.44395
394 | 1.252 | 0.43684
393 | 1.2424 | 0.43002
392 | 1.2369 | 0.42542
391 | 1.2293 | 0.42158
390 | 1.221 | 0.41845
389 | 1.2156 | 0.4173
388 | 1.1993 | 0.41733
387 | 1.1932 | 0.41844
386 | 1.1799 | 0.4228
385 | 1.1717 | 0.42644
384 | 1.1611 | 0.43323
383 | 1.1553 | 0.44157
382 | 1.1462 | 0.45454
381 | 1.1308 | 0.46982
380 | 1.1237 | 0.48511
379 | 1.1118 | 0.50693
378 | 1.0987 | 0.53211
377 | 1.0877 | 0.55897
376 | 1.0815 | 0.59605
375 | 1.068 | 0.63518
374 | 1.0621 | 0.67722
373 | 1.0459 | 0.73105
372 | 1.0313 | 0.78883
371 | 1.0191 | 0.85099
370 | 1.0141 | 0.92782
369 | 0.9988 | 1.0106
368 | 0.98302 | 1.1016
367 | 0.97238 | 1.2024
366 | 0.96421 | 1.2948
365 | 0.94879 | 1.4145
364 | 0.93198 | 1.5691
363 | 0.92405 | 1.6707
362 | 0.91255 | 1.7893
361 | 0.89928 | 1.9206
360 | 0.88628 | 2.0186
359 | 0.87438 | 2.0989
358 | 0.85952 | 2.2567
357 | 0.84909 | 2.2989
356 | 0.83998 | 2.4088
355 | 0.82305 | 2.4397
354 | 0.81493 | 2.4229
353 | 0.80063 | 2.4151
352 | 0.78814 | 2.4694
351 | 0.77524 | 2.4107
350 | 0.76768 | 2.5013
349 | 0.7528 | 2.4474
348 | 0.7433 | 2.3887
347 | 0.73192 | 2.5487
346 | 0.71915 | 2.622
345 | 0.71015 | 2.5793
344 | 0.70237 | 2.5361
343 | 0.69035 | 2.5601
342 | 0.67861 | 2.6113
341 | 0.66759 | 2.3795
340 | 0.65703 | 2.5568
339 | 0.64812 | 2.6219
338 | 0.6384 | 2.4385
337 | 0.62905 | 2.5591
336 | 0.62004 | 2.5458
335 | 0.60894 | 2.7485
334 | 0.60114 | 2.6506
333 | 0.59205 | 2.4782
332 | 0.58164 | 2.761
331 | 0.57519 | 2.5953
330 | 0.56482 | 2.3896
329 | 0.55696 | 2.7444
328 | 0.54954 | 2.7516
327 | 0.54254 | 2.6728
326 | 0.53448 | 2.6303
325 | 0.52804 | 2.8475
324 | 0.52001 | 2.7976
323 | 0.51345 | 2.7349
322 | 0.50815 | 2.7574
321 | 0.50051 | 2.7518
320 | 0.49512 | 2.7447
319 | 0.48995 | 2.8091
318 | 0.4832 | 2.8792
317 | 0.47787 | 2.8287
316 | 0.47312 | 3.0094
315 | 0.46721 | 2.7801
314 | 0.46307 | 2.845
313 | 0.46001 | 2.9107
312 | 0.45618 | 3.1481
311 | 0.4526 | 2.9637
310 | 0.44878 | 2.7896
309 | 0.44695 | 2.9492
308 | 0.44371 | 2.9481
307 | 0.43985 | 3.3937
306 | 0.43565 | 2.9341
305 | 0.43114 | 3.1301
304 | 0.42631 | 3.1112
303 | 0.41915 | 3.0853
302 | 0.41329 | 2.9799
301 | 0.4076 | 3.2534
300 | 0.40004 | 3.2208
299 | 0.3928 | 3.3183
298 | 0.38645 | 4.116
297 | 0.37309 | 3.4636
296 | 0.35598 | 3.3442
295 | 0.32164 | 3.2818
294 | 0.26467 | 3.5647
293 | 0.19495 | NaN
292 | 0.12476 | NaN
291 | 0.11013 | 3.3463
290 | 0.14727 | NaN
289 | 0.17679 | NaN
288 | 0.17122 | 2.3085
287 | 0.14685 | 1.8846
286 | 0.10236 | 1.7116
285 | 0.055699 | 1.945
284 | 0.045649 | 2.5386
283 | 0.022216 | NaN
282 | 0.13354 | 1.0539
281 | 0.11745 | 0.95906
280 | 0.45667 | 0.77567
279 | 0.5318 | NaN
278 | 0.60544 | NaN
277 | 0.19677 | 0.050014
276 | 0.36373 | 0.535
275 | 0.12712 | 1.1988
274 | -0.36998 | 0.099356
273 | 0.77606 | 0.49721
272 | 0.46052 | 0.89551
271 | 0.7928 | NaN
270 | 0.29053 | NaN
269 | NaN | 1.2324
268 | 0.59361 | 0.13109
267 | 0.91861 | NaN
266 | NaN | 0.74889
265 | 0.2792 | NaN
264 | NaN | 0.28366
263 | 0.1221 | -0.19893
262 | 0.32036 | NaN
261 | 0.0704 | -0.36394
260 | 0.68322 | 0.79721
259 | 0.72499 | 0.85549
258 | NaN | NaN
257 | 1.2788 | 0.40764
256 | 0.63943 | 0.54635
255 | 0.060552 | -0.080465
254 | 0.12533 | -0.12297
253 | NaN | NaN
252 | 0.45847 | NaN
251 | 0.54457 | 0.24652
250 | 0.096148 | 0.37131
249 | NaN | 0.16652
248 | NaN | NaN
247 | -0.23426 | NaN
246 | 0.014786 | 0.29899
245 | 0.10704 | 0.23603
244 | -0.063398 | -0.027463
243 | 0.65326 | NaN
242 | 0.48512 | NaN
241 | -0.25986 | NaN
240 | -0.20659 | 0.48306
239 | 0.20907 | NaN
238 | 0.87497 | 0.98794
237 | 0.66331 | NaN
236 | 0.228 | NaN
235 | -0.032319 | 0.66358
234 | -0.10792 | 0.64249
233 | 0.39667 | 0.4299
232 | 0.13223 | NaN
231 | 0.58115 | 0.24271
230 | -0.16432 | -0.40255
229 | NaN | NaN
228 | 0.55878 | 0.6184
227 | 0.057064 | -0.18098
226 | 0.10957 | 0.18135
225 | NaN | NaN
224 | 0.89975 | NaN
223 | 0.70398 | NaN
222 | -0.22754 | 0.043599
221 | 0.32843 | 0.13006
220 | 0.1403 | 0.10062
219 | 0.38986 | -0.051551
218 | 0.24566 | 0.58559
217 | NaN | 0.1184
216 | NaN | -0.56005
215 | 0.36321 | 0.99923
214 | -0.18779 | NaN
213 | NaN | -0.049503
212 | NaN | 0.80737
211 | 0.90306 | NaN
210 | NaN | NaN
209 | -0.013348 | 0.76064
208 | 1.1256 | 0.94489
207 | NaN | NaN
206 | NaN | NaN
205 | -0.042835 | -0.05425
204 | 0.41258 | 0.3178
203 | 0.3584 | -0.025265
202 | 0.68822 | NaN
201 | 0.21789 | -0.46071
200 | NaN | NaN
199 | 0.33651 | NaN
198 | 0.40077 | 0.79497
197 | NaN | NaN
196 | NaN | 0.16712
195 | -0.27016 | NaN
194 | -0.40359 | âˆž
193 | NaN | NaN
192 | 0.15923 | 0.50015
191 | NaN | NaN
190 | 1.1714 | 0.20432

## 04.07.25
| 1mM DFOB-Fe complex | 0.5:1.5 Fe-Ferrozine complex
| 2025-04-07 12:12 | 2025-04-07 12:12
Wavelength (nm) | Absorbance | Absorbance
700 | 0.00372 | 0.044014
699 | 0.004626 | 0.04591
698 | 0.003646 | 0.046791
697 | 0.003249 | 0.048719
696 | 0.00517 | 0.051078
695 | 0.003917 | 0.05361
694 | 0.003356 | 0.056273
693 | 0.005227 | 0.058583
692 | 0.005933 | 0.063201
691 | 0.004425 | 0.063615
690 | 0.004156 | 0.067434
689 | 0.003856 | 0.069709
688 | 0.00591 | 0.073233
687 | 0.005034 | 0.077105
686 | 0.004417 | 0.079894
685 | 0.005037 | 0.084255
684 | 0.005338 | 0.08944
683 | 0.005535 | 0.093436
682 | 0.006512 | 0.097726
681 | 0.005537 | 0.10215
680 | 0.006655 | 0.10785
679 | 0.00682 | 0.11311
678 | 0.006835 | 0.11797
677 | 0.007318 | 0.12436
676 | 0.007115 | 0.13013
675 | 0.007374 | 0.13661
674 | 0.007198 | 0.14257
673 | 0.007601 | 0.14941
672 | 0.007712 | 0.15597
671 | 0.007774 | 0.16303
670 | 0.00812 | 0.17045
669 | 0.007928 | 0.17939
668 | 0.007436 | 0.18757
667 | 0.008872 | 0.19564
666 | 0.008719 | 0.20614
665 | 0.008791 | 0.21464
664 | 0.009855 | 0.22585
663 | 0.009071 | 0.23718
662 | 0.009488 | 0.24761
661 | 0.009459 | 0.25771
660 | 0.008814 | 0.27123
659 | 0.009221 | 0.28231
658 | 0.010014 | 0.2961
657 | 0.01083 | 0.31126
656 | 0.010052 | 0.32432
655 | 0.009439 | 0.33926
654 | 0.010258 | 0.35417
653 | 0.010685 | 0.3699
652 | 0.012305 | 0.3888
651 | 0.012259 | 0.40463
650 | 0.011907 | 0.42247
649 | 0.013194 | 0.44325
648 | 0.012017 | 0.4589
647 | 0.013408 | 0.48047
646 | 0.014379 | 0.50258
645 | 0.015363 | 0.52663
644 | 0.013975 | 0.54575
643 | 0.014923 | 0.56722
642 | 0.015677 | 0.59267
641 | 0.015538 | 0.61958
640 | 0.015382 | 0.64102
639 | 0.016874 | 0.66951
638 | 0.019106 | 0.70268
637 | 0.019218 | 0.72537
636 | 0.018562 | 0.75611
635 | 0.019837 | 0.7911
634 | 0.019338 | 0.81555
633 | 0.020876 | 0.85301
632 | 0.021331 | 0.8849
631 | 0.020927 | 0.919
630 | 0.022229 | 0.96678
629 | 0.023217 | 0.99434
628 | 0.024116 | 1.0314
627 | 0.024019 | 1.0728
626 | 0.026008 | 1.1105
625 | 0.025941 | 1.1578
624 | 0.026967 | 1.2052
623 | 0.027001 | 1.2395
622 | 0.028457 | 1.3064
621 | 0.029358 | 1.3341
620 | 0.029283 | 1.3914
619 | 0.030466 | 1.4446
618 | 0.031359 | 1.4892
617 | 0.033143 | 1.5265
616 | 0.034761 | 1.5995
615 | 0.034474 | 1.6564
614 | 0.036329 | 1.7029
613 | 0.037589 | 1.7385
612 | 0.038403 | 1.7879
611 | 0.039385 | 1.8458
610 | 0.042112 | 1.9143
609 | 0.043116 | 1.9968
608 | 0.043535 | 1.9648
607 | 0.046298 | 2.086
606 | 0.046516 | 2.1264
605 | 0.048673 | 2.1192
604 | 0.049489 | 2.1806
603 | 0.050818 | 2.2114
602 | 0.052908 | 2.2216
601 | 0.054754 | 2.2314
600 | 0.056295 | 2.2133
599 | 0.057687 | 2.3847
598 | 0.059954 | 2.2363
597 | 0.061455 | 2.3288
596 | 0.064308 | 2.2239
595 | 0.066163 | 2.3574
594 | 0.068816 | 2.2488
593 | 0.069934 | 2.4379
592 | 0.07291 | 2.3657
591 | 0.075694 | 2.3521
590 | 0.076389 | 2.3622
589 | 0.080107 | 2.2995
588 | 0.081776 | 2.3602
587 | 0.084313 | 2.3824
586 | 0.087542 | 2.4253
585 | 0.09055 | 2.528
584 | 0.093266 | 2.3379
583 | 0.095988 | 2.2947
582 | 0.1003 | 2.2558
581 | 0.10315 | 2.4074
580 | 0.10464 | 2.381
579 | 0.10852 | 2.334
578 | 0.11275 | 2.3658
577 | 0.11701 | 2.3484
576 | 0.12023 | 2.3573
575 | 0.12391 | 2.3466
574 | 0.128 | 2.4869
573 | 0.13162 | 2.292
572 | 0.13694 | 2.3415
571 | 0.14052 | 2.3422
570 | 0.14604 | 2.4264
569 | 0.15245 | 2.3529
568 | 0.15556 | 2.3572
567 | 0.16067 | 2.3478
566 | 0.16567 | 2.4261
565 | 0.17195 | 2.4308
564 | 0.177 | 2.4099
563 | 0.18296 | 2.3841
562 | 0.18914 | 2.2877
561 | 0.19458 | 2.3895
560 | 0.20076 | 2.3732
559 | 0.20763 | 2.3698
558 | 0.21452 | 2.3159
557 | 0.22007 | 2.2206
556 | 0.22776 | 2.3991
555 | 0.23577 | 2.2379
554 | 0.242 | 2.3156
553 | 0.25023 | 2.309
552 | 0.25726 | 2.3684
551 | 0.26481 | 2.3596
550 | 0.2731 | 2.3934
549 | 0.28097 | 2.3698
548 | 0.28975 | 2.3598
547 | 0.29871 | 2.3278
546 | 0.30781 | 2.3608
545 | 0.31634 | 2.312
544 | 0.32688 | 2.4067
543 | 0.33559 | 2.3848
542 | 0.34597 | 2.3455
541 | 0.35598 | 2.3283
540 | 0.36564 | 2.4273
539 | 0.37748 | 2.3385
538 | 0.38913 | 2.3681
537 | 0.39871 | 2.3536
536 | 0.41094 | 2.4118
535 | 0.42352 | 2.4105
534 | 0.43572 | 2.3436
533 | 0.44711 | 2.3595
532 | 0.45905 | 2.302
531 | 0.47334 | 2.3434
530 | 0.48774 | 2.372
529 | 0.50025 | 2.3838
528 | 0.51236 | 2.3786
527 | 0.52768 | 2.3266
526 | 0.54085 | 2.3386
525 | 0.5557 | 2.3189
524 | 0.57082 | 2.3462
523 | 0.58426 | 2.3993
522 | 0.59974 | 2.3648
521 | 0.61581 | 2.2957
520 | 0.63015 | 2.349
519 | 0.64695 | 2.3301
518 | 0.66434 | 2.3378
517 | 0.67785 | 2.3494
516 | 0.69451 | 2.3935
515 | 0.71175 | 2.4142
514 | 0.72943 | 2.3862
513 | 0.74737 | 2.3864
512 | 0.76363 | 2.3772
511 | 0.78098 | 2.3853
510 | 0.80017 | 2.3714
509 | 0.81328 | 2.3788
508 | 0.83135 | 2.3293
507 | 0.85158 | 2.3152
506 | 0.87082 | 2.3315
505 | 0.88688 | 2.3553
504 | 0.90736 | 2.3605
503 | 0.9214 | 2.3791
502 | 0.94377 | 2.2821
501 | 0.96233 | 2.332
500 | 0.97739 | 2.3358
499 | 1.0001 | 2.32
498 | 1.0175 | 2.3348
497 | 1.035 | 2.3011
496 | 1.0546 | 2.2676
495 | 1.0745 | 2.2871
494 | 1.0897 | 2.2687
493 | 1.1081 | 2.279
492 | 1.1241 | 2.2608
491 | 1.1462 | 2.2526
490 | 1.1633 | 2.2229
489 | 1.1819 | 2.2382
488 | 1.1982 | 2.2791
487 | 1.2169 | 2.2462
486 | 1.2365 | 2.2266
485 | 1.252 | 2.2173
484 | 1.2731 | 2.2027
483 | 1.2875 | 2.1949
482 | 1.3007 | 2.1947
481 | 1.3194 | 2.1649
480 | 1.3376 | 2.1707
479 | 1.3553 | 2.1655
478 | 1.3703 | 2.1471
477 | 1.3797 | 2.1392
476 | 1.3986 | 2.1114
475 | 1.4127 | 2.1309
474 | 1.4293 | 2.0946
473 | 1.4517 | 2.0783
472 | 1.463 | 2.0671
471 | 1.4743 | 2.0552
470 | 1.4897 | 2.0477
469 | 1.501 | 2.0585
468 | 1.5172 | 2.0451
467 | 1.5268 | 2.0209
466 | 1.5402 | 2.0081
465 | 1.5429 | 1.9976
464 | 1.5592 | 1.9816
463 | 1.565 | 1.9872
462 | 1.5843 | 1.9644
461 | 1.5952 | 1.9464
460 | 1.6025 | 1.9354
459 | 1.6069 | 1.9279
458 | 1.6165 | 1.9078
457 | 1.6265 | 1.8968
456 | 1.6332 | 1.8924
455 | 1.6466 | 1.8768
454 | 1.6499 | 1.8576
453 | 1.6537 | 1.8299
452 | 1.6544 | 1.8141
451 | 1.6739 | 1.8017
450 | 1.6842 | 1.7841
449 | 1.6858 | 1.7741
448 | 1.6895 | 1.7522
447 | 1.6958 | 1.7326
446 | 1.7058 | 1.7148
445 | 1.7045 | 1.7023
444 | 1.6999 | 1.676
443 | 1.7186 | 1.6529
442 | 1.7123 | 1.6302
441 | 1.7261 | 1.6089
440 | 1.7239 | 1.5867
439 | 1.7321 | 1.5645
438 | 1.7421 | 1.545
437 | 1.7428 | 1.5194
436 | 1.7306 | 1.4867
435 | 1.7375 | 1.4649
434 | 1.7331 | 1.4394
433 | 1.7451 | 1.4108
432 | 1.7379 | 1.3872
431 | 1.7499 | 1.3618
430 | 1.7406 | 1.3395
429 | 1.7415 | 1.3047
428 | 1.7443 | 1.2827
427 | 1.7387 | 1.2533
426 | 1.7444 | 1.2257
425 | 1.7332 | 1.1979
424 | 1.7487 | 1.1684
423 | 1.7445 | 1.144
422 | 1.7335 | 1.1106
421 | 1.74 | 1.0836
420 | 1.7374 | 1.0552
419 | 1.7278 | 1.0247
418 | 1.736 | 0.99877
417 | 1.7315 | 0.97058
416 | 1.7214 | 0.94057
415 | 1.7092 | 0.91126
414 | 1.7104 | 0.88771
413 | 1.7164 | 0.85817
412 | 1.7134 | 0.83389
411 | 1.7068 | 0.80466
410 | 1.7187 | 0.77978
409 | 1.6986 | 0.75681
408 | 1.6886 | 0.7305
407 | 1.6959 | 0.70741
406 | 1.6838 | 0.68813
405 | 1.6868 | 0.66291
404 | 1.6803 | 0.64264
403 | 1.6584 | 0.62312
402 | 1.6426 | 0.60271
401 | 1.6506 | 0.58572
400 | 1.6459 | 0.56851
399 | 1.6426 | 0.54988
398 | 1.6158 | 0.53706
397 | 1.6225 | 0.52139
396 | 1.6112 | 0.50651
395 | 1.6181 | 0.49546
394 | 1.602 | 0.48457
393 | 1.5888 | 0.47519
392 | 1.5818 | 0.46722
391 | 1.557 | 0.46141
390 | 1.5525 | 0.45689
389 | 1.5515 | 0.45234
388 | 1.5329 | 0.45147
387 | 1.5245 | 0.4518
386 | 1.5078 | 0.45437
385 | 1.4989 | 0.45887
384 | 1.4913 | 0.46755
383 | 1.4778 | 0.47815
382 | 1.4676 | 0.49267
381 | 1.4495 | 0.51249
380 | 1.4386 | 0.53211
379 | 1.4304 | 0.55843
378 | 1.4163 | 0.59125
377 | 1.4011 | 0.62513
376 | 1.3852 | 0.67061
375 | 1.3598 | 0.7223
374 | 1.3515 | 0.77905
373 | 1.3439 | 0.84905
372 | 1.317 | 0.921
371 | 1.3025 | 1.0051
370 | 1.29 | 1.1133
369 | 1.2824 | 1.2075
368 | 1.2605 | 1.3242
367 | 1.2415 | 1.4416
366 | 1.2268 | 1.5687
365 | 1.2161 | 1.6993
364 | 1.1956 | 1.8385
363 | 1.1802 | 1.9781
362 | 1.1657 | 2.1097
361 | 1.1522 | 2.2339
360 | 1.1324 | 2.3447
359 | 1.1172 | 2.419
358 | 1.0966 | 2.3619
357 | 1.0834 | 2.413
356 | 1.071 | 2.4363
355 | 1.0504 | 2.439
354 | 1.037 | 2.5064
353 | 1.0153 | 2.442
352 | 1.0021 | 2.5857
351 | 0.99107 | 2.4166
350 | 0.97542 | 2.5058
349 | 0.95974 | 2.4169
348 | 0.94305 | 2.5273
347 | 0.92522 | 2.6899
346 | 0.91205 | 2.5327
345 | 0.90203 | 2.4533
344 | 0.89016 | 2.4872
343 | 0.87249 | 2.4268
342 | 0.85961 | 2.6067
341 | 0.84558 | 2.5971
340 | 0.82823 | 2.6789
339 | 0.81888 | 2.6129
338 | 0.80561 | 2.5
337 | 0.79428 | 2.5383
336 | 0.78192 | 2.6238
335 | 0.76763 | 2.6287
334 | 0.75601 | 2.4379
333 | 0.74451 | 2.7701
332 | 0.73404 | 2.5461
331 | 0.72235 | 2.6761
330 | 0.71033 | 2.5828
329 | 0.69971 | 2.7042
328 | 0.68979 | 2.801
327 | 0.67958 | 2.6019
326 | 0.67111 | 2.6917
325 | 0.66212 | 2.9033
324 | 0.65141 | 2.8505
323 | 0.64356 | 2.791
322 | 0.6358 | 2.9106
321 | 0.62756 | 2.6754
320 | 0.61916 | 2.7723
319 | 0.61144 | 2.8787
318 | 0.60387 | 2.8113
317 | 0.59784 | 2.9365
316 | 0.59126 | 2.7485
315 | 0.58473 | 3.0279
314 | 0.57791 | 2.8673
313 | 0.57414 | 2.9037
312 | 0.56913 | 3.0224
311 | 0.56444 | 2.9346
310 | 0.56092 | 2.9182
309 | 0.55582 | 3.0646
308 | 0.55301 | 2.9161
307 | 0.54856 | 3.1566
306 | 0.54367 | 3.0084
305 | 0.53961 | 3.1511
304 | 0.53421 | 3.0354
303 | 0.52704 | 3.1661
302 | 0.52111 | 3.071
301 | 0.51513 | 3.2648
300 | 0.50874 | 3.4388
299 | 0.50165 | 3.2698
298 | 0.49384 | 3.4803
297 | 0.48245 | 3.0995
296 | 0.46742 | 2.933
295 | 0.43185 | 3.1961
294 | 0.37687 | 3.6981
293 | 0.30635 | 2.9214
292 | 0.23958 | 2.9181
291 | 0.22832 | 2.7092
290 | 0.26319 | NaN
289 | 0.29809 | NaN
288 | 0.28731 | 2.676
287 | 0.26669 | 2.5684
286 | 0.23377 | NaN
285 | 0.17273 | 1.6622
284 | 0.18992 | 1.553
283 | 0.25848 | 1.8514
282 | 0.12018 | NaN
281 | 0.58596 | 1.2003
280 | 0.13062 | 0.63794
279 | NaN | 1.1573
278 | 1.5362 | 0.50402
277 | NaN | NaN
276 | 0.9306 | NaN
275 | 0.75037 | NaN
274 | NaN | 0.57973
273 | 2.577 | NaN
272 | 0.6602 | NaN
271 | 0.30216 | 0.31099
270 | 0.023241 | 0.56498
269 | -0.13136 | -0.12631
268 | 0.13188 | 0.17552
267 | 0.50193 | NaN
266 | NaN | NaN
265 | -0.011915 | 1.2311
264 | -0.1349 | NaN
263 | 1.3421 | 0.087692
262 | 0.29794 | 0.45054
261 | 0.22071 | NaN
260 | 0.16131 | 0.43798
259 | NaN | NaN
258 | NaN | 0.36033
257 | 0.70705 | 0.76971
256 | -0.066238 | NaN
255 | NaN | 0.40798
254 | -0.027049 | NaN
253 | 1.1815 | NaN
252 | NaN | NaN
251 | -0.12255 | 0.056585
250 | 1.141 | NaN
249 | 0.1157 | 0.7128
248 | -0.14538 | 0.9656
247 | -0.14405 | NaN
246 | -0.012153 | 0.60156
245 | 1.0262 | NaN
244 | NaN | 0.92177
243 | -0.50367 | NaN
242 | -0.14593 | NaN
241 | -0.20415 | NaN
240 | 2.0286 | 1.5343
239 | 0.60639 | 0.20071
238 | 0.40688 | 0.65101
237 | NaN | 0.26945
236 | 0.04314 | 0.094023
235 | -0.26218 | NaN
234 | 2.0791 | 0.083768
233 | -0.08942 | -0.11876
232 | 0.41094 | 1.1653
231 | 0.27057 | NaN
230 | 0.004381 | NaN
229 | NaN | 0.72314
228 | NaN | 1.1253
227 | NaN | NaN
226 | NaN | 0.29614
225 | -0.2227 | NaN
224 | 0.48551 | NaN
223 | NaN | -0.38298
222 | 0.2348 | 0.3611
221 | NaN | 0.8022
220 | 0.30793 | 0.032169
219 | 0.37019 | NaN
218 | 0.10575 | 0.30352
217 | NaN | 0.16984
216 | NaN | 0.43056
215 | -0.25965 | NaN
214 | 0.17825 | 0.6618
213 | 0.3033 | 0.94507
212 | NaN | 0.11145
211 | 0.47764 | 0.24497
210 | NaN | -0.22208
209 | -0.12257 | 0.026927
208 | -0.26425 | 0.075632
207 | 0.26706 | NaN
206 | -0.12598 | NaN
205 | NaN | -0.16248
204 | -1.1494 | NaN
203 | NaN | 1.4286
202 | -0.057857 | NaN
201 | -0.1706 | 0.51703
200 | NaN | NaN
199 | 0.41976 | 0.25894
198 | 2.6776 | NaN
197 | 0.17842 | 0.15187
196 | NaN | NaN
195 | NaN | NaN
194 | NaN | NaN
193 | -0.084907 | NaN
192 | NaN | 0.39792
191 | 0.3449 | -0.26083
190 | NaN | -1.027